{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Бланк"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Бланк","index":0,"n_rows":221,"n_cols":10,"rows_kept":221,"cut":false,"hidden":false,"merged":[[6,1,6,12],[4,8,4,12],[2,6,2,7],[3,6,3,7],[4,6,4,7],[2,8,2,12],[3,8,3,12],[8,4,8,9],[10,4,10,9],[13,4,13,9],[9,4,9,9],[14,4,14,9],[101,1,101,12],[100,1,100,12],[95,5,95,9],[97,1,97,2],[99,1,99,11]]}
[]
[]
[null,null,null,null,null,null,"Сайт компании:",null,"https://aerosmartspb.ru"]
[null,null,null,null,null,null,"Электронный адрес:",null,"info@aerosmartspb.ru"]
[null,"       Бланк запроса вентиляционной установки",null,null,null,null,"Телефон:",null,"8 (981) 109-13-52 ; 8 (812) 955-00-35    "]
[]
[null,"       Бланк запроса вентиляционной установки"]
[]
[null,null,"Организация"]
[null,null,"Город"]
[null,null,"Ф.И.О."]
[null,null,"тел/факс"]
[null,null,"e-mail"]
[null,null,"Дата"]
[]
[]
[]
[]
[]
[null,null,null,null,"Наружный воздух","Лето",null,"Зима"]
[]
[null,null,null,null,"Температура",null,"оС",null,"оС"]
[]
[null,null,null,null,"Относительная влажность",null,"%",null,"%"]
[]
[null,null,null,null,"Внутренний воздух","Лето",null,"Зима"]
[]
[null,null,null,null," Температура",null,"оС",null,"оС"]
[]
[null,null,null,null,"Относительная влажность",null,"%",null,"%"]
[]
[null,null,null,null,"Тип вентиляционной установки:"]
[]
[]
[]
[null,null,null,null,null,null,"ПРИТОК"]
[]
[null,null,null,null,"Расход воздуха на притоке:",null,"m3/h"]
[]
[null,null,null,null,"Внешнее давление на притоке:",null,"Pa"]
[]
[null,null,null,null,"Рециркуляция воздуха:"]
[]
[null,null,null,null,"Степень очистки фильтра на притоке:",null,null,"вид:"]
[]
[null,null,null,null,"Дополнительный фильтр:",null,null,"вид:"]
[]
[null,null,null,null,"Тип рекуператора:"]
[]
[null,null,null,null,"Первый нагреватель:"]
[]
[null,null,null,null,"Нагрев","от",-26,"оС до",22,"оС"]
[]
[null,null,null,null,"Нагрев по мощности",null,null," кВт"]
[]
[null,null,null,null,"Второй нагреватель:"]
[]
[null,null,null,null,"Нагрев","от",null,"оС до",null,"оС"]
[]
[null,null,null,null,"Нагрев по мощности",null,null," кВт"]
[]
[null,null,null,null,"Охладитель:"]
[]
[null,null,null,null,"Содержание гликоля, %"]
[]
[null,null,null,null,"Температура воды",null,null,"оС"]
[]
[null,null,null,null,"Температура кипения фреона",null,null,"оС"]
[]
[null,null,null,null,"Шумоглушитель на притоке:"]
[]
[null,null,null,null,null,null,"ВЫТЯЖКА"]
[]
[null,null,null,null,"Расход воздуха на вытяжке:",null,"m3/h"]
[]
[null,null,null,null,"Внешнее давление на вытяжке:",null,"Pa"]
[]
[]
[null,null,null,null,"Степень очистки фильтра на вытяжке:",null,null,"вид:"]
[]
[null,null,null,null,"Дополнительный фильтр:",null,null,"вид:"]
[]
[null,null,null,null,"Шумоглушитель на вытяжке:"]
[]
[null,null,null,null,null,null,"АВТОМАТИКА"]
[]
[null,null,null,null,"Тип корпуса*:"]
[]
[null,null,null,null,"Комплектация:"]
[]
[null,null,null,null,"Дополнительное оборудование:"]
[]
[]
[]
[]
[null,null,null,null,"Дополнительные данные:","Количество установок, например:7шт., дополнительные требования."]
[]
[]
[]
[null,"     * для вентиляционных установок суммарной электрической мощностью свыше 40 кВт исполнение щита только металлическое. \n    **IP65 только в закрытом состоянии.\n"]
[]
[]
[]
[]
[]
[null,"приточно-вытяжная"]
[null,"приточная "]
[null,"вытяжная"]
[]
[null,"внутри помещения"]
[null,"снаружи помещения"]
[]
[null,"№1"]
[null,"№2"]
[null,"№3"]
[null,"№4"]
[null,"№5"]
[]
[null,"(отсутствует)"]
[null,0.05]
[null,0.1]
[null,0.15]
[null,0.2]
[null,0.25]
[null,0.3]
[null,0.35]
[null,0.4]
[null,0.45]
[null,0.5]
[null,0.55000000000000004]
[null,0.6]
[null,0.65]
[null,0.7]
[null,0.75]
[null,0.8]
[null,0.85]
[null,0.9]
[null,"(свое значение)   =>"]
[]
[null,"(отсутствует)"]
[null,"G3"]
[null,"G4"]
[null,"F5"]
[null,"F6"]
[null,"F7"]
[null,"F9"]
[]
[null,"(отсутствует)"]
[null,"Роторный"]
[null,"Пластинчатый"]
[null,"Гликолевый"]
[]
[null,"(отсутствует)"]
[null,"водяной (80-60)"]
[null,"водяной (90-70)"]
[null,"водяной (свои значения)   =>"]
[null,"электрический"]
[null,"газовый"]
[]
[null,"(свои значения)   =>"]
[null,"220/1/50"]
[null,"380/3/50"]
[null,"415/3/50"]
[]
[null,"(отсутствует)"]
[null,"пропан"]
[null,"бутан"]
[null,"природный газ"]
[]
[null,"(отстутствует)"]
[null,"водяной"]
[null,"вода+этиленгликоль"]
[null,"вода+пропиленгликоль"]
[null,"фреон R22"]
[null,"фреон R407C"]
[null,"фреон R134a"]
[null,"фреон R410"]
[null,"(свое значение)   =>"]
[null,0]
[null,5]
[null,10]
[null,15]
[null,20]
[null,25]
[null,30]
[null,35]
[null,40]
[null,45]
[]
[null,"(отсутствует)"]
[null,"пленечный"]
[null,"парогенератор"]
[]
[null,"(отсутствует)"]
[null,"на стороне забора воздуха"]
[null,"на стороне нагнетания"]
[null,"на стороне забора воздуха и на стороне нагнетания"]
[]
[]
[]
[]
[]
[null,"(отсутствует)"]
[null,"карманный"]
[null,"кассетный"]
[null,":-)"]
[null,":-|"]
[null,":-/"]
[null,"(отсутствует)"]
[null,"пластиковый IP65**"]
[null,"металлический IP21"]
[]
[null,"(отсутствует)"]
[null,"Стандарт"]
[null,"Эконом"]
[]
[null,"(отсутствует)"]
[null,"смесительный узел "]
[]
[null,"в комплекте:"]
[null,"без автоматики"]